## Inventario CABASE IXP
Uso
Comodato
Préstamo
Uso
Stock
| Datos del Responsable del Inventario | [8 empty] | Fecha de inventario
|  | Nombre y Apellido |  | Andres Barbieri
|  | Correo |  | barbieri@cespi.unlp.edu.ar
|  | Teléfono de Contacto |  | 0221-6441210
|  | IXP |  | LPL
Datos de los equipos
| Tipo | Nombre | Marca | Modelo | Parte Número | Serial | Pertenece a | Tres Letras del Miembro | USO PROPIO/ COMODATO/ PRÈSTAMO | EN USO / STOCK | Valor en Dólares (aprox) | Observaciones
| SWT | SWI-ROU-01 | huawei | Huawei CloudEngine S6730-H24X6C |  |  | Internet WISP | SWI |  |  |  | R3
| SWT | MGL-SNT-SWT-01 | mktk | SW CRS328-24P-4S+RM |  |  | Magalajo/Sonytel | MGL/SNT |  |  | 600 | R3, Uso compartido
| ODF | ULP-ODF-02 | KOC | ODF FO SM x24 SC APC |  |  | UNLP | ULP |  |  |  | R3
| ODF | SWI-ODF-01 | KOC | ODF FO SM x24 SC APC |  |  | Internet WISP | SWI |  |  |  | R3
| SWT | GZA-ROU-01 | UBNT | UBNT Unifi Edge Switch 16 XG |  |  | Giza | GZA |  |  |  | R3
| DWM | MTL-DWM-01 |  | 8DWDM-DF |  |  | Metrotel | MTL |  |  |  | R3, pasivo
| SWT | GZA-SWT-02 | mktk | SW CRS328-24P-4S+RM |  |  | Giza | GZA |  |  | 600 | R3
| SWT | DAT-SWT-01 | huawei | S5720-28X-SI |  |  | Datco/Silica | DAT |  |  |  | R3, SWT01.ACC.LPT03
| ODF | ULP-ODF-01 |  | ODF FO SM x24 SC PC |  |  | UNLP | ULP |  |  |  | R2
| ODF | MTL-ODF-01 |  | ODF FO SM x24 SC PC |  |  | Metrotel | MTL |  |  |  | R2
| ODF | LPL-ODF-01 |  | ODF FO SM x12 SC PC |  |  | IXP-LPL | LPL |  |  |  | R2
| PTC | PTC-LPL-01 |  | PATCHPANEL UTP RJ45 CAT5e x5 |  |  | IXP-LPL | LPL |  |  |  | R2
| SWT | MTL-SWT-02 | cisco | SW Cisco catalyst 3650G |  |  | Metrotel | MTL |  |  | 4700 | R2
| SWT | MTL-SWT-03 | cisco | SW L3 Cisco catalyst 4500-X-24SFP+ |  |  | Metrotel | MTL |  |  | 4700 | R2
| SWT | LPL-SWT-01 | cisco | SW Cisco catalyst 2950 |  | FOC07211UAK | Metrotel | LPL |  |  | 400 | R2, Metrotel presta al NAP
| SWT | LPL-SWT-02/ROU-03 | huawei | SW L3 HUAWEI S6720-54C-EI-48S-AC |  | 2102350DMPDMKC000165 | IXP-LPL | LPL |  |  | 4600 | R2
| ROU | LPL-ROU-01 | cisco | RO Cisco c2811 |  | FTX1049A2SA | UNLP | LPL |  |  | 400 | R2, UNLP presta al NAP
| SWT | LPL-SWT-03 | cisco | SW Cisco catalyst 2960X-48-TD |  | FOC1823S702 | IXP-LPL | LPL |  |  | 2000 | R2
| SRV | LPL-SRV-02 | dell | SRV DELL PowerEdge1900 |  |  | UNLP | LPL |  |  | 400 | R2, UNLP presta al NAP
| SWT | SIS-ROU-01 | huawei | S5720S-28X-SI-AC |  |  | Sista | SIS |  |  |  | R2
| MAD | MAD-ROU-01 | UBNT | UBNT Unifi Edge Switch 16 XG |  |  | Madacom | MAD |  |  |  | R2
| SWT | TWO-ROU-01 | mktk | SW CRS317-1G-16S+RM |  |  | Tecnologia WorkOut | TWO |  |  |  | R2
| ROU | CYB-ROU-01 | mktk | RO CCR2004-1G-12S-2XS |  |  | Cyberwave | CYB |  |  |  | R2
| SWT | CYB-SWT-01 | ?? | switch 4ports 10G |  |  | Cyberwave | CYB |  |  |  | R2, en bandeja
| MED/SWT | TCO-SWT-01/TCO-MED-01 | mktk | Mediaconverter / RB-750 |  |  | TecoAr | TCO |  |  | 150 | R2, en bandeja
| MED | SWI-MED-01 |  | Mediaconverter |  |  | Internet WISP | SWI |  |  | 0 | R2, en bandeja, si uso
| ROU | LPL-ROU-02 | cisco | RO Cisco 2500 |  | PB ID 01238314 | UNLP | LPL |  |  | 100 | R2, prestado al NAP LG
| ROU | CAD-ROU-01 | mktk | RO MKTK CCR1036-12G-4S |  |  | Horus (ex Cadema) | CAD |  |  | 1200 | R2
| SRV | LPL-SRV-01 | lenovo | Lenovo/IBM System X3250 M5 T5458 + modulos |  | 5458AC1-E2NF127 | IXP-LPL | LPL |  |  | 1200 | R2
| SRV | TAZ-ROU-01 | mktk | MKTK CCR1036-12G-4S |  |  | TAZ | TAZ |  |  | 1200 | R2
| SRV | GGC-SRV-01 | dell | DELL PowerEdge 720x |  |  | GGC (Com) | GGC |  |  | 20000 | R2
| SRV | GGC-SRV-02 | dell | DELL PowerEdge 720x |  |  | GGC (Com) | GGC |  |  | 20000 | R2
| SRV | GGC-SRV-03 | dell | DELL PowerEdge 720x |  |  | GGC (Com) | GGC |  |  | 20000 | R2
| SWT | FNA-SWT-01 | arista | Switch Arista T7600CX-32S |  |  | FNA | FNA |  |  | 4700 | R3
| SRV | FNA-SRV-01 | hp | HP Server |  |  | FNA | FNA |  |  |  | R3
| SRV | FNA-SRV-02 | hp | HP Server |  |  | FNA | FNA |  |  |  | R3
| SRV | FNA-SRV-03 | hp | HP Server |  |  | FNA | FNA |  |  |  | R3
| SRV | FNA-SRV-04 | hp | HP Server |  |  | FNA | FNA |  |  |  | R3
| SRV | GGCSRVv2-01 | dell | DELL PowerEdge 740xd |  |  | GGC (Com) | GGC |  |  |  | R3
| SRV | GGCSRVv2-02 | dell | DELL PowerEdge 740xd |  |  | GGC (Com) | GGC |  |  |  | R3
| UPS | LPL-UPS-01 | apc | UPS APC 5000VA |  |  | IXP-LPL | LPL |  |  |  | No rack
| UPS | LPL-UPS-02 | apc | UPS APC 5000VA |  |  | IXP-LPL | LPL |  |  |  | No rack
| EXTERNO | Rack 5 PA(3ero)
| ODF | LPL-ODF-EXT01 |  | ODF FO SM x12 SC PC |  |  | IXP-LPL | LPL |  |  |  | R5 PA
| ODF | MGL-SNT-ODF-EXT01 |  | ODF FO SM x12 SC PC |  |  | Magalajo/Sonytel | MGL/SNT |  |  |  | R5 PA
| ODF | SPA-ODF-EXT01 |  | ODF FO SM x12 SC PC |  |  | Sur Por Aire | SPA |  |  |  | R5 PA
| PTC | LPL-PTC-EXT01 |  | PATCHPANEL UTP RJ45 CAT5e x5 |  |  | IXP-LPL | LPL |  |  |  | R5 PA
| SWT | CAD-SWT-EXT01 | TPL | Switch TP-Link TL-SG-2216 |  |  | Horus (ex Cadema) | CAD |  |  |  | R5 PA
| ANT | CAD-ANT-EXT01 | UBNT | AirFiber wifi |  |  | Horus (ex Cadema) | CAD |  |  |  | R5 PA (torre)
| ANT | CAD-ANT-EXT02 | MIMOSA | Mimosa wifi |  |  | Horus (ex Cadema) | CAD |  |  |  | R5 PA (torre)
| MED | MED-TCO-EXT01 | TRENDNET | Mediaconverter |  |  | TCO | TCO |  |  |  | R5 PA
| ANT | TCO-ANT-EXT01 | MKTK | Wifi |  |  | TCO | TCO |  |  |  | R5 PA (torre)
Nota: Es importe colocar todos los equipos que se encuentra(Instalados, en desuso, en stock sin obviar Rack, UPS,AC y cualquier otro activo) en el IXP.
Los equipos se distribuyen en 3 racks que son propiedad de la UNLP
IXP
CABASE
Inventario IXP